## Blad1
Phasing and tariffs for low-carbon heat SDE++ 2026 | Maximum phase amount/base amount |  |  |  |  | Basic energy price | Provisional correction amount 2026 | Provisional ETS-correction 2026 | Maximum full load hours | Contract period | Commissioning period | Subsidy term | Fenced domain
Category | Phase 1 €/kWh | Phase 2 €/kWh | Phase 3 €/kWh | Phase 4 €/kWh | Phase 5 €/kWh | €/kWh | €/kWh | €/kWh | hours/year | years | years | years
Geothermal energy
Shallow geothermal energy with heat pump, base load | 0.0583 | 0.0855 | 0.1075 | 0.1075 | 0.1075 | 0.0131 | 0.0273 | 0.0016 | 6000 | 3 | 5 | 15 | LT heat
Shallow geothermal energy with heat pump, no base load, heating for built environment | 0.0500 | 0.0772 | 0.1045 | 0.1318 | 0.1681 | 0.0131 | 0.0273 | 0.0016 | 3500 | 3 | 6 | 15 | LT heat
Deep geothermal energy with heat pump, no base load, heating for built environment | 0.0498 | 0.077 | 0.1041 | 0.1312 | 0.1674 | 0.0131 | 0.0273 | 0.0016 | 3500 | 3 | 6 | 15 | LT heat
Deep geothermal energy with heat pump < 12 MWth, base load, heating for built environment | 0.0498 | 0.077 | 0.1041 | 0.1312 | 0.1476 | 0.0131 | 0.0273 | 0.0016 | 6000 | 3 | 6 | 15 | LT heat
Deep geothermal energy with heat pump ≥ 12 MWth, base load, heating for built environment | 0.0498 | 0.077 | 0.1041 | 0.1312 | 0.1325 | 0.0131 | 0.0273 | 0.0016 | 6000 | 3 | 6 | 15 | LT heat
Water
Aquathermal energy, base load, heating for built environment, new heat transfer station | 0.0363 | 0.05 | 0.0636 | 0.0772 | 0.0954 | 0.0131 | 0.0273 | 0.0016 | 6000 | 1.5 | 4 | 15 | LT heat
Aquathermal energy, base load, heating for built environment | 0.0364 | 0.0501 | 0.0638 | 0.0775 | 0.0876 | 0.0131 | 0.0273 | 0.0016 | 6000 | 1.5 | 4 | 15 | LT heat
Aquathermal energy, no base load, district heating | 0.0366 | 0.0505 | 0.0644 | 0.0783 | 0.0968 | 0.0131 | 0.0273 | 0.0016 | 3500 | 1.5 | 4 | 15 | LT heat
Aquathermal energy with seasonal heat storage, no base load, direct supply to a building | 0.0448 | 0.0586 | 0.0724 | 0.0862 | 0.0996 | 0.0131 | 0.0273 | 0 | 3500 | 1.5 | 4 | 15 | LT heat
Air
Air-water heat pump for heating existing buildings, medium temperature | 0.0819 | 0.0956 | 0.1092 | 0.1229 | 0.1403 | 0.0465 | 0.0691 | 0.0016 | 3500 | 1.5 | 4 | 15 | LT heat
Air-water heat pump for heating existing buildings or existing greenhouses, low temperature | 0.0454 | 0.0599 | 0.0743 | 0.0782 | 0.0782 | 0.0131 | 0.0273 | 0.0016 | 3500 | 1.5 | 4 | 15 | LT heat
Solar
Solar PVT system, district heating | 0.0469 | 0.0628 | 0.0787 | 0.0907 | 0.0907 | 0.0131 | 0.0273 | 0.0016 | 4600 | 1.5 | 4 | 15 | LT heat
Electrification
Electric boiler, district heating | 0.0575 | 0.0699 | 0.0699 | 0.0699 | 0.0699 | 0.0168 | 0.0351 | 0.0078 | 3300 | 1.5 | 4 | 15 | HT heat
Electric boiler, industrial application not greenhouse horticulture | 0.0699 | 0.0699 | 0.0699 | 0.0699 | 0.0699 | 0.0168 | 0.0351 | 0.0155 | 3300 | 1.5 | 4 | 15 | HT heat
Electric boiler continuation, district heating (only operational costs) | 0.0575 | 0.0661 | 0.0661 | 0.0661 | 0.0661 | 0.0168 | 0.0351 | 0.0078 | 2900 | - | 1 | 5 | HT heat
Electric boiler continuation, industrial application not greenhouse horticulture (only operational costs) | 0.0661 | 0.0661 | 0.0661 | 0.0661 | 0.0661 | 0.0168 | 0.0351 | 0.0155 | 2900 | - | 1 | 5 | HT heat
Electric boiler, industrial application not greenhouse horticulture, with thermal storage | 0.0729 | 0.0898 | 0.1066 | 0.1086 | 0.1086 | 0.0168 | 0.0351 | 0.0155 | 4800 | 1.5 | 4 | 15 | HT heat
Process-integrated heat pump in an existing evaporation process, with process modifications (8,000 hour) | 0.0645 | 0.0672 | 0.0672 | 0.0672 | 0.0672 | 0.0131 | 0.0273 | 0.0155 | 8000 | 1.5 | 4 | 12 | HT heat
Process-integrated heat pump in an existing evaporation process, with process modifications (5,000 hour) | 0.0645 | 0.0786 | 0.0927 | 0.0931 | 0.0931 | 0.0131 | 0.0273 | 0.0155 | 5000 | 1.5 | 4 | 12 | HT heat
Process-integrated heat pump in an existing evaporation process, with process modifications (3,000 hour) | 0.0645 | 0.0786 | 0.0927 | 0.1068 | 0.1256 | 0.0131 | 0.0273 | 0.0155 | 3000 | 1.5 | 4 | 12 | HT heat
Process-integrated heat pump in an existing evaporation process (8,000 hour) | 0.0513 | 0.0513 | 0.0513 | 0.0513 | 0.0513 | 0.0131 | 0.0273 | 0.0155 | 8000 | 1.5 | 4 | 12 | HT heat
Process-integrated heat pump in an existing evaporation process (5,000 hour) | 0.0653 | 0.0721 | 0.0721 | 0.0721 | 0.0721 | 0.0131 | 0.0273 | 0.0155 | 5000 | 1.5 | 4 | 12 | HT heat
Process-integrated heat pump in an existing evaporation process (3,000 hour) | 0.0653 | 0.0803 | 0.0952 | 0.1089 | 0.1089 | 0.0131 | 0.0273 | 0.0155 | 3000 | 1.5 | 4 | 12 | HT heat
Process-integrated heat pump in an evaporation process with a low dew point | 0.0634 | 0.0764 | 0.0893 | 0.0934 | 0.0934 | 0.0131 | 0.0273 | 0.0155 | 8000 | 1.5 | 4 | 12 | HT heat
Industrial closed-loop heat pump (8,000 hour) | 0.0609 | 0.0609 | 0.0609 | 0.0609 | 0.0609 | 0.0131 | 0.0273 | 0.0155 | 8000 | 1.5 | 4 | 12 | HT heat
Industrial closed-loop heat pump (5,000 hour) | 0.0645 | 0.0786 | 0.0830 | 0.0830 | 0.0830 | 0.0131 | 0.0273 | 0.0155 | 5000 | 1.5 | 4 | 12 | HT heat
Industrial closed-loop heat pump (3,000 hour) | 0.0645 | 0.0786 | 0.0927 | 0.1068 | 0.1223 | 0.0131 | 0.0273 | 0.0155 | 3000 | 1.5 | 4 | 12 | HT heat
Waste heat utilisation
Waste heat utilisation with heat pump, length-output ratio < 0.10 km/MWth | 0.0429 | 0.0570 | 0.0711 | 0.0738 | 0.0738 | 0.0131 | 0.0273 | 0.0047 | 5500 | 1.5 | 4 | 15 | LT heat
Waste heat utilisation with heat pump, length-output ratio ≥ 0.10 and < 0.20 km/MWth | 0.0429 | 0.0570 | 0.0710 | 0.0826 | 0.0826 | 0.0131 | 0.0273 | 0.0047 | 5500 | 1.5 | 4 | 15 | LT heat
Waste heat utilisation with heat pump, length-output ratio ≥ 0.20 and < 0.30 km/MWth | 0.0429 | 0.0569 | 0.0710 | 0.0851 | 0.0918 | 0.0131 | 0.0273 | 0.0047 | 5500 | 1.5 | 4 | 15 | LT heat
Waste heat utilisation with heat pump, length-output ratio ≥ 0.30 and < 0.40 km/MWth | 0.0429 | 0.0569 | 0.0710 | 0.0850 | 0.1008 | 0.0131 | 0.0273 | 0.0047 | 5500 | 1.5 | 4 | 15 | LT heat
Waste heat utilisation with heat pump, length-output ratio ≥ 0.40 km/MWth | 0.0428 | 0.0569 | 0.0709 | 0.0850 | 0.1037 | 0.0131 | 0.0273 | 0.0047 | 5500 | 1.5 | 4 | 15 | LT heat
Waste heat utilisation, length-output ratio < 0.10 km/MWth | 0.0136 | 0.0136 | 0.0136 | 0.0136 | 0.0136 | 0.0131 | 0.0273 | 0.0047 | 5500 | 1.5 | 4 | 15 | LT heat
Waste heat utilisation, length-output ratio ≥ 0.10 and < 0.20 km/MWth | 0.0226 | 0.0226 | 0.0226 | 0.0226 | 0.0226 | 0.0131 | 0.0273 | 0.0047 | 5500 | 1.5 | 4 | 15 | LT heat
Waste heat utilisation, length-output ratio ≥ 0.20 and < 0.30 km/MWth | 0.0318 | 0.0318 | 0.0318 | 0.0318 | 0.0318 | 0.0131 | 0.0273 | 0.0047 | 5500 | 1.5 | 4 | 15 | LT heat
Waste heat utilisation, length-output ratio ≥ 0.30 and < 0.40 km/MWth | 0.0411 | 0.0411 | 0.0411 | 0.0411 | 0.0411 | 0.0131 | 0.0273 | 0.0047 | 5500 | 1.5 | 4 | 15 | LT heat
Waste heat utilisation, length-output ratio ≥ 0.40 km/MWth | 0.0456 | 0.0502 | 0.0502 | 0.0502 | 0.0502 | 0.0131 | 0.0273 | 0.0047 | 5500 | 1.5 | 4 | 15 | LT heat
Waste heat utilisation with a high-temperature heat pump and district heating pipeline | 0.0421 | 0.0555 | 0.0688 | 0.0821 | 0.0992 | 0.0131 | 0.0273 | 0.0047 | 5500 | 1.5 | 4 | 15 | LT heat